## Slide 1: Mini VNA
Mini vector network analyzer

## Slide 2: Member
Nguyen Manh Thao Leader
Phan Tri Dung Member
Nguyen Tran Kha Member
Trinh Le Huy Instructor

## Slide 3: Content
1. STATUS QUO
2. SOLUTION
3. DESIGN
4. RESULT
5. PLAN

## Slide 4: 1. STATUS QUO
IoT market is now growth up and up

## Slide 5: 1. STATUS QUO
IoT market is now growth up and up
More and more Startup are in IoT field

## Slide 6: 1. STATUS QUO
But for the Startuper
how to know their product doing well – especially the antenna with
Have not much knowledge about atenna
Little money
Professional devices are very expensive

## Slide 7: 2. Solution
The project presents a device that analyzes qualities of the antenna in IoT devices.
Cheap
Small
Easy to use
Have two optional wave

## Slide 8: 2. Solution
MAGNITUDE
RF reflection

## Slide 9: 2. Solution
RF reflection
In real, when an atenna operates. Antenna always has a forward and reverse signal.
The good atenna the less reverse signal

## Slide 10: 2. Solution
MAGNITUDE
Pm: the output corresponding to the magnitude of the signal level difference (dB)
Prev: power of reverse signal
Pfor: power of forward signal
PM = log10 ( Prev/Pfor )

## Slide 11: 2. Solution
MAGNITUDE
Vmag: VMAG is the output corresponding to the magnitude of the signal level difference (V)
Vslp: called the slope (voltage) = 3.3/20
VinA: voltage of reverse signal.
VinB: voltage of forward signal.

## Slide 12: 3. Design
Generator
IM881a+NRF24L01
MCU
Coupler
DUT
AD8302
Gain and Phase Detector
20$
MAGNITUDE
Forward signal
Reverse signal
1.5$
16,67$
36$
1$
UART+SPI
Total
75,17$
Bluetooth

## Slide 13: 3. Design

## Slide 14: 3. Design
How it work
Create a sample wave
868Mhz and 2.4Ghz

## Slide 15: 3. Design
How it work
Forward wave
Reverse
wave

## Slide 16: 3. Design
How it work
AD8302
Forward and reverse wave
Analog signals

## Slide 17: 3. Design
How it work
Analog signals
Calculate and sent results to smartphone

## Slide 18: 3. Design
How it work
With this formula and the chart, we figure out the MAGNITUDE of the RF wave
Value = (100/3)*Vmag - 30

## Slide 19: 5. Plan
Make a chip

## Slide 20: 5. Plan

## Slide 21: Our problem
Old Circuits worked unstable
Need new circuit
Weather maked the delivery to be late

## Slide 22
Q&A

## Slide 23
Thank you